## Worksheet 1
Quantity | Instrument | Responsible | Source alert | Alert criteria | Access
| (GB) (SAT) (IS) | institute
High-resol. lidar data | Lidar | EARLINET/ | Volcano/dust | Threshold on particle backscatter coeff. | Off-line
(att. backscatter and |  | ACTRIS-CNR |  | and particle depolarisation ratio1
vol. depolarisation ratio)
Backscattering power | Radar | INGV-OE/OPGC | Volcano | Manual analysis (volcanologist on duty | Off-line
checks the increase in echo power with
respect to the background)
Backscattering power | Radar | IMO | Volcano | General threshold at −20 dBZ | NRT
(but specific volcano-dependent thresholds
are also set: -31 or -30 dBZ)
Plume height | Radar | IMO | Volcano | Triggered by backscatt. power | NRT
Thermal images | TIR camera network | INGV-OE | Volcano | Dynamical threshold (no fixed threshold)2 | NRT
SO2 profiles | UV spectrometer network | INGV-OE | Volcano | SO2 thresholds are 1000–2000 t d−1 (low), | NRT
2000–4000 t d−1 (medium) and
>4000 t d−1 (high)
SO2 column amount | DOAS | IMO | Volcano | SO2 threshold depends on a variety of factors | NRT
(type of sensors and orientation); currently
100 and 200 ppm m set as
reference thresholds for DOAS in Hekla and
in Fagradaslfjall
Plume height | Webcam | INGV-OE | Volcano | Intensity contrast pixels (estimation of the | NRT
column height is made qualitatively by an
operator, i.e. the volcanologist on duty)3
Plume height | Webcam | IMO | Volcano | Manual analysis (identification of specific | NRT
features); plume height obtained using a
graphical interface
Ash index | Aqua/AIRS | ULB | Volcano | NOP required4 | NRT
SO2 VCD | Aqua/AIRS | AIRES/BIRA | Volcano | Threshold (SO2>3 DU), coeff.5 | NRT
SO2 VCD | Aura/OMI | NASA | Volcano | Threshold (SO2>1.25 DU), count pixels5 | NRT
SO2 VCD | MetOp-A & -B/GOME-2 | DLR | Volcano | Threshold (SO2>1.45 DU), count pixels5 | NRT
AOD (dusts) | MetOp-A & -B/IASI | ULB | Dust | Threshold (AOD > 0.5) | NRT
Ash index | MetOp-A & -B/IASI | ULB | Volcano | NOP required4 | NRT
SO2 BT index | MetOp-A & -B/IASI | ULB | Volcano | Threshold (BT | NRT
SO2 VCD | MetOp-A & -B/IASI | ULB | Volcano | Triggered by BT | NRT
SO2 plume height | MetOp-A & -B/IASI | ULB | Volcano | Triggered by BT | NRT
Ash mask | MSG/SEVIRI | DLR | Volcano | Threshold | NRT
Ash column load | MSG/SEVIRI | DLR | Volcano | Triggered by ash mask | NRT
Ash top height | MSG/SEVIRI | DLR | Volcano | Triggered by ash mask | NRT
SO2 VCD | S5P/TROPOMI | BIRA/DLR | Volcano | Threshold (SO2>0.5 DU), count pixels5 | NRT
SO2 VCD | Suomi-NPP/OMPS | NASA | Volcano | Threshold (SO2>0.75 DU), count pixels5 | NRT
Aerosol index | Sentinel-3A & -B/SLSTR | FMI | Volcano/dust | Threshold ash index (BT | NRT
Aerosol top height | Sentinel-3A & -B/SLSTR | FMI | Volcano/dust | Triggered by ash index | NRT
Thermal anomaly | Terra & Aqua/MODIS | NASA – FIRMS | Fire | Relay (through FIRMS) | NRT
Thermal anomaly | Suomi-NPP/VIIRS | NASA – FIRMS | Fire | Relay (through FIRMS) | NRT
Seismicity | SIL seismic network | IMO | Volcano | Relay (through VONA) | NRT
Volcanic tremor | Seismic stations | INGV-OE | Volcano | Relay (through reports)6 | NRT
Gamma radiation | Network of detectors | EURDEP/ZAMG | Nuclear | Relay (through EURDEP) | NRT