## Worksheet
Priority tier | Vulnerability addressed | Example adaptations | Notes and example metrics
Tier 1(Highest) | Coastal substations and distribution exposed to surge, seawater inundation, and high winds | Elevate and flood-proof substations, pressurise control rooms; raise equipment foundations (plinths); corrosion-resistant hardware. | Directly targets nodes consistent with largest coastal deficits.Metrics: Post-event recovery time; reduced demand shortfall in coastal zones.
Tier 2 | Wind-driven vulnerability in transmission and distribution | Targeted tower reinforcement; foundation protection (e.g., concrete cladding); regular reconductoring (i.e., replacing wires on overhead lines); redundancy in coastal regions; right-of-way vegetation management. | Focus on areas where loss creates system-wide drops.Metrics: Line-outage rate per storm; ensure network can tolerate loss of single critical line/substation during cyclones.
Tier 3 | Operational vulnerabilities, e.g., delayed response and avoidable curtailment | Probabilistic demand/outage forecasting; pre-positioning of repair teams; black-start preparedness; critical-load prioritisation protocols. | Relatively low cost, high impact.Metrics: Forecast reliability; time-to-restore critical loads; reduction in day 0 dip magnitude.
Tier 4 | Loss of critical services during widespread grid failure | Distributed solar and batteries for shelters and hospitals; microgrids in high-risk coastal communities; grid-forming inverters. | Focuses on resilience rather than supply.Metrics: Hours of critical-service continuity during grid outage.
Tier 5(Limited during basin-wide extremes) | Cross-border imports limited by correlated BD–WB hazards | Explicit contingency reserves; diversified interconnection points; joint restoration drills; shared situational awareness. | Useful for moderate/local impacts; less reliable for basin-wide extreme weather.Metrics: Import availability conditional on Bangladesh dip days.